## Source
Site License
Global License
The Wind Power EI
19, rue du Limousin
31170 Tournefeuille - France
Tel : +33 6 50 78 66 16
Fax : +33 9 58 76 96 73
http://www.thewindpower.net
contact@thewindpower.net
The databases shall not be given, hired or sold to any other part.
Free share inside the purchasing office or company (Site License or Global License, please refer to the invoice).
Databases content is provided "as is" and no warranty is given about data accuracy or completeness.
Invoice |  | Customer | Sample
Customer ref.
Date | 2023-11-08 09:05
License

## Read me
Man. ID | Manufacturer internal ID
Manufucturer Name | Manufacturer name
Turb. ID | Turbine internal ID
Turbine Name | Turbine name
Power (kW) at wind speed (m/s) | Output power as a function of the wind speed
Conditions | Measurement or calculation conditions
Link | Direct link to The Wind Power datasheet

## Power_curves
Man. ID | Manufucturer Name | Turb. ID | Turbine Name | Power (kW) at wind speed (m/s) | [70 empty] | Conditions | Link
|  |  | - | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 10.5 | 11 | 11.5 | 12 | 12.5 | 13 | 13.5 | 14 | 14.5 | 15 | 15.5 | 16 | 16.5 | 17 | 17.5 | 18 | 18.5 | 19 | 19.5 | 20 | 20.5 | 21 | 21.5 | 22 | 22.5 | 23 | 23.5 | 24 | 24.5 | 25 | 25.5 | 26 | 26.5 | 27 | 27.5 | 28 | 28.5 | 29 | 29.5 | 30 | 30.5 | 31 | 31.5 | 32 | 32.5 | 33 | 33.5 | 34 | 34.5 | 35 | #ND = unknown
3 | Enercon | 495 | E82/2300 | 0 | 0 | 0 | 0 | 3 | 12 | 25 | 50 | 82 | 125 | 174 | 245 | 321 | 427 | 532 | 674 | 815 | 998 | 1180 | 1380 | 1580 | 1735 | 1890 | 1995 | 2100 | 2175 | 2240 | 2280 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Air density: 1,225 kg/m3 | Link
4 | Gamesa | 81 | G128/4500 | 0 | 0 | 0 | 0 | 75 | 120 | 165 | 230 | 300 | 450 | 600 | 760 | 967 | 1250 | 1533 | 1870 | 2200 | 2620 | 3018 | 3450 | 3774 | 4080 | 4314 | 4430 | 4490 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4403 | 4306 | 4210 | 4113 | 4016 | 3919 | 3823 | 3725 | 3629 | 3532 | 3435 | 3339 | 3242 | 3145 | 3048 | 2950 | 2855 | 2758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #ND | Link
8 | Nordex | 7 | N90/2500 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 17 | 62 | 119 | 188 | 269 | 363 | 472 | 599 | 746 | 912 | 1097 | 1299 | 1515 | 1744 | 1969 | 2149 | 2288 | 2389 | 2456 | 2492 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #ND | Link
9 | Repower | 16 | MM82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 66 | 129 | 192 | 267 | 343 | 431 | 519 | 615 | 711 | 835 | 959 | 1157 | 1355 | 1518 | 1681 | 1771 | 1861 | 1904 | 1947 | 1970 | 1987 | 1996 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #ND | Link
14 | Vestas | 413 | V112/3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 76 | 134 | 192 | 269 | 346 | 465 | 584 | 737 | 890 | 1098 | 1306 | 1514 | 1722 | 1942 | 2162 | 2352 | 2542 | 2701 | 2860 | 2930 | 2970 | 2983 | 2995 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #ND | Link

## Chart
Turbine | 0 | 0.5 | 1 | 1.5 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5 | 5 | 5.5 | 6 | 6.5 | 7 | 7.5 | 8 | 8.5 | 9 | 9.5 | 10 | 10.5 | 11 | 11.5 | 12 | 12.5 | 13 | 13.5 | 14 | 14.5 | 15 | 15.5 | 16 | 16.5 | 17 | 17.5 | 18 | 18.5 | 19 | 19.5 | 20 | 20.5 | 21 | 21.5 | 22 | 22.5 | 23 | 23.5 | 24 | 24.5 | 25 | 25.5 | 26 | 26.5 | 27 | 27.5 | 28 | 28.5 | 29 | 29.5 | 30 | 30.5 | 31 | 31.5 | 32 | 32.5 | 33 | 33.5 | 34 | 34.5 | 35
Enercon E82/2300 | 0 | 0 | 0 | 0 | 3 | 12 | 25 | 50 | 82 | 125 | 174 | 245 | 321 | 427 | 532 | 674 | 815 | 998 | 1180 | 1380 | 1580 | 1735 | 1890 | 1995 | 2100 | 2175 | 2240 | 2280 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 2300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gamesa G128/4500 | 0 | 0 | 0 | 0 | 75 | 120 | 165 | 230 | 300 | 450 | 600 | 760 | 967 | 1250 | 1533 | 1870 | 2200 | 2620 | 3018 | 3450 | 3774 | 4080 | 4314 | 4430 | 4490 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4403 | 4306 | 4210 | 4113 | 4016 | 3919 | 3823 | 3725 | 3629 | 3532 | 3435 | 3339 | 3242 | 3145 | 3048 | 2950 | 2855 | 2758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Enercon E82/2300
Nordex N90/2500 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 17 | 62 | 119 | 188 | 269 | 363 | 472 | 599 | 746 | 912 | 1097 | 1299 | 1515 | 1744 | 1969 | 2149 | 2288 | 2389 | 2456 | 2492 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Gamesa G128/4500
Repower MM82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 66 | 129 | 192 | 267 | 343 | 431 | 519 | 615 | 711 | 835 | 959 | 1157 | 1355 | 1518 | 1681 | 1771 | 1861 | 1904 | 1947 | 1970 | 1987 | 1996 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Nordex N90/2500
Vestas V112/3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 76 | 134 | 192 | 269 | 346 | 465 | 584 | 737 | 890 | 1098 | 1306 | 1514 | 1722 | 1942 | 2162 | 2352 | 2542 | 2701 | 2860 | 2930 | 2970 | 2983 | 2995 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Repower MM82
Choose the turbine model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Vestas V112/3000
Choose the turbine model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Choose the turbine model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Choose the turbine model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Choose the turbine model | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0